## Experiment information
Date (mm/dd/yyyy): | 2025-07-30
Name of the person in charge: | Allison Faerber
Experimental setup | Dilute pseudomonas in Lb until reaches E4, then plate nad test every 1.5 hours starting at t=0
Name of Microorganism: | Pseudomonas Putida
Initial load:
Additional info (if any)
Serial number of cassette/channel number:
Sample # | Cassette number | Impedance analyzer
Data collection
Date and Time | Name of the person who takes the reading | Note (indicate any deviation from the standard protocol)

## Sample 1
Data analysis
Frequency range: | 10kHz to 100MHz
Low Frequency range used | 10kHz
High frequency range used (Semi circle range) | 100MHz
Circuit parameters
Samples: | Pseudomonas diluted to E4 placed in 10mL LB
Measurement times(hrs): | t=0,1.5,3.0,4.5,6.0,7.5
Fill here details of the sample
Comments before data analysis: | Type here any deviation from the original protocol of data analysis, such as using different freq ranges, changing the circuit model etc.
Voltage: | 500mV
Data points or range deleted (if any):
Time(hrs): | t=0
Model: C:\Users\ascxc\Desktop\Marcela\2021 Sept10\surface and bulk.mdl | Chi-Sqr | Sum-Sqr | L1(+) | L1(Error) | L1(Error%) | Re(±) | Re(Error) | Re(Error%) | CPE-e-T(+) | CPE-e-T(Error) | CPE-e-T(Error%) | CPE-e-P(+) | CPE-e-P(Error) | CPE-e-P(Error%) | CPE-b-T(+) | CPE-b-T(Error) | CPE-b-T(Error%) | CPE-b-P(+) | CPE-b-P(Error) | CPE-b-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=0)\25.07.29_Pseudo(t=0)_NoiseElim\25072901.TXT | 0.00013683 | 0.06773 | 4.662e-07 | 1.0387e-08 | 2.228 | -257.4 | 11.984 | 4.6558 | 3.3653e-06 | 6.983e-08 | 2.075 | 0.63589 | 0.0022353 | 0.35152 | 2.3705e-12 | 4.0009e-14 | 1.6878 | 0.93573 | 0.0010947 | 0.11699 | 4805 | 12.583 | 0.26187 |  | 2.3705e-12 | -12.234 | 1.2359e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=0)\25.07.29_Pseudo(t=0)_NoiseElim\25072902.TXT | 0.00014045 | 0.069523 | 4.9009e-07 | 1.0566e-08 | 2.1559 | -297.4 | 12.374 | 4.1607 | 3.5101e-06 | 7.4949e-08 | 2.1352 | 0.63175 | 0.0023016 | 0.36432 | 2.6511e-12 | 4.5291e-14 | 1.7084 | 0.92927 | 0.0011104 | 0.11949 | 4871 | 12.997 | 0.26682 |  | 2.6511e-12 | -1.845 | 1.1351e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=0)\25.07.29_Pseudo(t=0)_NoiseElim\25072903.TXT | 0.0001432 | 0.070886 | 4.8737e-07 | 1.0731e-08 | 2.2018 | -296.7 | 12.522 | 4.2204 | 3.5325e-06 | 7.6292e-08 | 2.1597 | 0.63084 | 0.0023281 | 0.36905 | 2.6474e-12 | 4.5725e-14 | 1.7272 | 0.9293 | 0.0011225 | 0.12079 | 4890 | 13.157 | 0.26906 |  | 2.6474e-12 | -1.982 | 1.009e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=0)\25.07.29_Pseudo(t=0)_NoiseElim\25072904.TXT | 0.00014711 | 0.072821 | 4.9804e-07 | 1.0942e-08 | 2.197 | -316.3 | 12.869 | 4.0686 | 3.5004e-06 | 7.6787e-08 | 2.1937 | 0.63173 | 0.0023649 | 0.37435 | 2.7876e-12 | 4.8834e-14 | 1.7518 | 0.92626 | 0.0011408 | 0.12316 | 4913 | 13.516 | 0.27511 |  | 2.7876e-12 | 3.2088 | 1.2229e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=0)\25.07.29_Pseudo(t=0)_NoiseElim\25072905.TXT | 0.00014669 | 0.072904 | 5.0006e-07 | 1.0886e-08 | 2.1769 | -319.1 | 12.812 | 4.015 | 3.4889e-06 | 7.6784e-08 | 2.2008 | 0.63188 | 0.0023726 | 0.37548 | 2.8044e-12 | 4.8781e-14 | 1.7394 | 0.92587 | 0.0011328 | 0.12235 | 4927 | 13.465 | 0.27329 |  | 2.8044e-12 | 3.8308 | 1.723e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=0)\25.07.29_Pseudo(t=0)_NoiseElim\25072906.TXT | 0.00014623 | 0.072674 | 5.0693e-07 | 1.091e-08 | 2.1522 | -332.6 | 12.92 | 3.8845 | 3.4561e-06 | 7.6151e-08 | 2.2034 | 0.63294 | 0.0023756 | 0.37533 | 2.9446e-12 | 5.1176e-14 | 1.738 | 0.92311 | 0.0011335 | 0.12279 | 4945 | 13.575 | 0.27452 |  | 2.9446e-12 | 9.0216 | 8.6008e-14
Averages of all parameters | 0.00014342 | 0.07109 | 4.9145e-07 | 1.0737e-08 | 2.1853 | -303.25 | 12.5802 | 4.1675 | 3.4755e-06 | 7.5132e-08 | 2.1613 | 0.6325 | 0.0023297 | 0.36834 | 2.7009e-12 | 4.6636e-14 | 1.7254 | 0.92826 | 0.0011224 | 0.12093 | 4891.8333 | 13.2155 | 0.27011 | Average | 2.7009e-12 | 4.6636e-14 | 1.7254
Time(hrs): | t=1.5
Model: C:\Users\ascxc\Desktop\Marcela\2021 Sept10\surface and bulk.mdl | Chi-Sqr | Sum-Sqr | L1(+) | L1(Error) | L1(Error%) | Re(±) | Re(Error) | Re(Error%) | CPE-e-T(+) | CPE-e-T(Error) | CPE-e-T(Error%) | CPE-e-P(+) | CPE-e-P(Error) | CPE-e-P(Error%) | CPE-b-T(+) | CPE-b-T(Error) | CPE-b-T(Error%) | CPE-b-P(+) | CPE-b-P(Error) | CPE-b-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=1.5)\25.07.29_Pseudo(t=1.5)_NoiseElim\25072907.TXT | 0.00016342 | 0.080565 | 4.8677e-07 | 1.142e-08 | 2.3461 | -291.1 | 13.282 | 4.5627 | 3.3034e-06 | 7.5411e-08 | 2.2828 | 0.63699 | 0.0024598 | 0.38616 | 2.5793e-12 | 4.735e-14 | 1.8358 | 0.93057 | 0.0011918 | 0.12807 | 4910 | 13.953 | 0.28418 |  | 2.5793e-12 | -21.578 | 1.0919e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=1.5)\25.07.29_Pseudo(t=1.5)_NoiseElim\25072908.TXT | 0.00024107 | 0.11885 | 5.7409e-07 | 1.4909e-08 | 2.597 | -417.7 | 18.213 | 4.3603 | 3.4505e-06 | 9.5254e-08 | 2.7606 | 0.63226 | 0.0029761 | 0.47071 | 2.8287e-12 | 6.3763e-14 | 2.2541 | 0.92218 | 0.0014884 | 0.1614 | 4993 | 19.033 | 0.38119 |  | 2.8287e-12 | -13.9951 | 1.8036e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=1.5)\25.07.29_Pseudo(t=1.5)_NoiseElim\25072909.TXT | 0.0001727 | 0.085831 | 5.3916e-07 | 1.2244e-08 | 2.2709 | -396.7 | 14.987 | 3.7779 | 3.3691e-06 | 8.0378e-08 | 2.3857 | 0.63476 | 0.0025728 | 0.40532 | 3.4502e-12 | 6.5685e-14 | 1.9038 | 0.91337 | 0.0012539 | 0.13728 | 4989 | 15.705 | 0.31479 |  | 3.4502e-12 | 4.9012 | 2.2089e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=1.5)\25.07.29_Pseudo(t=1.5)_NoiseElim\25072910.TXT | 0.00016722 | 0.082774 | 5.3913e-07 | 1.1993e-08 | 2.2245 | -398.1 | 14.702 | 3.693 | 3.305e-06 | 7.7521e-08 | 2.3456 | 0.63679 | 0.0025294 | 0.39721 | 3.5398e-12 | 6.6142e-14 | 1.8685 | 0.91205 | 0.0012304 | 0.1349 | 5006 | 15.409 | 0.30781 |  | 3.5398e-12 | 7.6254 | 2.8935e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=1.5)\25.07.29_Pseudo(t=1.5)_NoiseElim\25072911.TXT | 0.00016966 | 0.084662 | 5.4306e-07 | 1.2134e-08 | 2.2344 | -410.7 | 14.943 | 3.6384 | 3.3001e-06 | 7.8816e-08 | 2.3883 | 0.63695 | 0.0025755 | 0.40435 | 3.6378e-12 | 6.8414e-14 | 1.8806 | 0.91032 | 0.001239 | 0.13611 | 5031 | 15.661 | 0.31129 |  | 3.6378e-12 | 10.605 | #DIV/0!
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=1.5)\25.07.29_Pseudo(t=1.5)_NoiseElim\25072912.TXT | 0.00016919 | 0.084425 | 5.4382e-07 | 1.2142e-08 | 2.2327 | -414.9 | 15.004 | 3.6163 | 3.291e-06 | 7.843e-08 | 2.3832 | 0.63743 | 0.0025701 | 0.4032 | 3.6982e-12 | 6.9383e-14 | 1.8761 | 0.90939 | 0.0012385 | 0.13619 | 5022 | 15.723 | 0.31308 |  | 3.6982e-12 | 12.4415 | #DIV/0!
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=1.5)\25.07.29_Pseudo(t=1.5)_NoiseElim\25072912.TXT | 0.00018054 | 0.089518 | 5.3767e-07 | 1.2474e-08 | 2.3176 | -388.2 | 15.1885 | 3.9414 | 3.3365e-06 | 8.0968e-08 | 2.4244 | 0.63586 | 0.0026139 | 0.41116 | 3.289e-12 | 6.3456e-14 | 1.9365 | 0.91631 | 0.0012737 | 0.13899 | 4991.8333 | 15.914 | 0.31872 | Average | 3.289e-12 | 7.1054e-15 | 1.1317e-12
Time(hrs): | t=3.0
Model: C:\Users\ascxc\Desktop\Marcela\2021 Sept10\surface and bulk.mdl | Chi-Sqr | Sum-Sqr | L1(+) | L1(Error) | L1(Error%) | Re(±) | Re(Error) | Re(Error%) | CPE-e-T(+) | CPE-e-T(Error) | CPE-e-T(Error%) | CPE-e-P(+) | CPE-e-P(Error) | CPE-e-P(Error%) | CPE-b-T(+) | CPE-b-T(Error) | CPE-b-T(Error%) | CPE-b-P(+) | CPE-b-P(Error) | CPE-b-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=3.0)\25.07.29_Pseudo(t=3.0)_NoiseElim\25072913.TXT | 0.00015228 | 0.076293 | 3.9584e-07 | 1.0353e-08 | 2.6155 | -150.6 | 11.526 | 7.6534 | 2.9362e-06 | 6.4046e-08 | 2.1813 | 0.65147 | 0.0023465 | 0.36019 | 1.9641e-12 | 3.4195e-14 | 1.741 | 0.94797 | 0.0011186 | 0.118 | 4670 | 12.13 | 0.25974 |  | 1.9641e-12 | -32.3572 | 9.5204e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=3.0)\25.07.29_Pseudo(t=3.0)_NoiseElim\25072914.TXT | 0.00016225 | 0.080962 | 5.2449e-07 | 1.1717e-08 | 2.234 | -377.4 | 14.399 | 3.8153 | 3.2554e-06 | 7.4939e-08 | 2.302 | 0.63899 | 0.0024818 | 0.38839 | 3.5646e-12 | 6.577e-14 | 1.8451 | 0.91242 | 0.001217 | 0.13338 | 4907 | 15.085 | 0.30742 |  | 3.5646e-12 | 22.7634 | 9.151e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=3.0)\25.07.29_Pseudo(t=3.0)_NoiseElim\25072915.TXT | 0.00015283 | 0.076261 | 5.2984e-07 | 1.1382e-08 | 2.1482 | -388.8 | 14.041 | 3.6114 | 3.2262e-06 | 7.2511e-08 | 2.2476 | 0.63982 | 0.0024234 | 0.37876 | 3.7803e-12 | 6.7695e-14 | 1.7907 | 0.90926 | 0.0011816 | 0.12995 | 4941 | 14.715 | 0.29781 |  | 3.7803e-12 | 30.1921 | 9.1418e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=3.0)\25.07.29_Pseudo(t=3.0)_NoiseElim\25072916.TXT | 0.00017754 | 0.088594 | 5.5525e-07 | 1.2493e-08 | 2.25 | -434.3 | 15.654 | 3.6044 | 3.3146e-06 | 8.0547e-08 | 2.4301 | 0.63672 | 0.0026211 | 0.41166 | 3.9864e-12 | 7.703e-14 | 1.9323 | 0.90541 | 0.0012809 | 0.14147 | 4990 | 16.389 | 0.32844 |  | 3.9864e-12 | 37.2901 | 4.9116e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=3.0)\25.07.29_Pseudo(t=3.0)_NoiseElim\25072917.TXT | 0.00013304 | 0.066385 | 4.1249e-07 | 9.7648e-09 | 2.3673 | -174.9 | 10.863 | 6.211 | 3.148e-06 | 6.4146e-08 | 2.0377 | 0.64275 | 0.0021933 | 0.34124 | 1.9871e-12 | 3.2464e-14 | 1.6337 | 0.94697 | 0.0010494 | 0.11082 | 4724 | 11.445 | 0.24227 |  | 1.9871e-12 | -31.5651 | 5.4047e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=3.0)\25.07.29_Pseudo(t=3.0)_NoiseElim\25072918.TXT | 0.0001394 | 0.069558 | 4.1639e-07 | 1.0029e-08 | 2.4086 | -188.6 | 11.23 | 5.9544 | 3.1158e-06 | 6.5239e-08 | 2.0938 | 0.6437 | 0.002254 | 0.35016 | 2.1393e-12 | 3.5842e-14 | 1.6754 | 0.94301 | 0.0010776 | 0.11427 | 4747 | 11.832 | 0.24925 |  | 2.1393e-12 | -26.3233 | 1.0725e-12
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=3.0)\25.07.29_Pseudo(t=3.0)_NoiseElim\25072918.TXT | 0.00015289 | 0.076342 | 4.7238e-07 | 1.0956e-08 | 2.3373 | -285.7667 | 12.9522 | 5.1416 | 3.166e-06 | 7.0238e-08 | 2.2154 | 0.64224 | 0.0023867 | 0.37173 | 2.9036e-12 | 5.2166e-14 | 1.7697 | 0.92751 | 0.0011542 | 0.12465 | 4829.8333 | 13.5993 | 0.28082 | Average | 2.9036e-12 | -4.737e-15 | 8.1424e-13
Time(hrs): | t=4.5
Model: C:\Users\ascxc\Desktop\Marcela\2021 Sept10\surface and bulk.mdl | Chi-Sqr | Sum-Sqr | L1(+) | L1(Error) | L1(Error%) | Re(±) | Re(Error) | Re(Error%) | CPE-e-T(+) | CPE-e-T(Error) | CPE-e-T(Error%) | CPE-e-P(+) | CPE-e-P(Error) | CPE-e-P(Error%) | CPE-b-T(+) | CPE-b-T(Error) | CPE-b-T(Error%) | CPE-b-P(+) | CPE-b-P(Error) | CPE-b-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=4.5)\25.07.29_Pseudo(t=4.5)_NoiseElim\25072919.TXT | 0.00020298 | 0.10169 | 3.0677e-07 | 1.1162e-08 | 3.6386 | -13.82 | 11.596 | 83.907 | 2.7673e-06 | 6.8666e-08 | 2.4813 | 0.65752 | 0.0026666 | 0.40555 | 1.3869e-12 | 2.7384e-14 | 1.9745 | 0.96952 | 0.0012464 | 0.12856 | 4550 | 12.267 | 0.2696 |  | 1.3869e-12 | -60.8493 | 2.0009e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=4.5)\25.07.29_Pseudo(t=4.5)_NoiseElim\25072920.TXT | 0.00018156 | 0.090601 | 5.599e-07 | 1.2568e-08 | 2.2447 | -438.8 | 15.728 | 3.5843 | 3.2318e-06 | 7.898e-08 | 2.4438 | 0.63936 | 0.0026353 | 0.41218 | 3.9239e-12 | 7.6489e-14 | 1.9493 | 0.90634 | 0.0012916 | 0.14251 | 4975 | 16.464 | 0.33093 |  | 3.9239e-12 | 10.7675 | 2.8037e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=4.5)\25.07.29_Pseudo(t=4.5)_NoiseElim\25072921.TXT | 0.00018775 | 0.09331 | 5.6096e-07 | 1.2824e-08 | 2.2861 | -436.8 | 15.96 | 3.6538 | 3.2494e-06 | 8.0552e-08 | 2.479 | 0.63865 | 0.0026732 | 0.41857 | 3.8009e-12 | 7.5513e-14 | 1.9867 | 0.90795 | 0.0013144 | 0.14477 | 4990 | 16.706 | 0.33479 |  | 3.8009e-12 | 7.2953 | 3.1771e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=4.5)\25.07.29_Pseudo(t=4.5)_NoiseElim\25072922.TXT | 0.00018289 | 0.090897 | 5.8217e-07 | 1.293e-08 | 2.221 | -491.4 | 16.459 | 3.3494 | 3.1819e-06 | 7.8436e-08 | 2.4651 | 0.64101 | 0.0026588 | 0.41478 | 4.3103e-12 | 8.4633e-14 | 1.9635 | 0.90021 | 0.0013077 | 0.14527 | 5057 | 17.205 | 0.34022 |  | 4.3103e-12 | 21.6751 | 2.2489e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=4.5)\25.07.29_Pseudo(t=4.5)_NoiseElim\25072923.TXT | 0.00020315 | 0.10056 | 5.8588e-07 | 1.3629e-08 | 2.3262 | -474.8 | 17.166 | 3.6154 | 3.2463e-06 | 8.3369e-08 | 2.5681 | 0.63901 | 0.0027696 | 0.43342 | 3.8534e-12 | 7.9796e-14 | 2.0708 | 0.90619 | 0.0013773 | 0.15199 | 5018 | 17.94 | 0.35751 |  | 3.8534e-12 | 8.7773 | 3.0896e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=4.5)\25.07.29_Pseudo(t=4.5)_NoiseElim\25072924.TXT | 0.00018122 | 0.090428 | 5.6149e-07 | 1.2553e-08 | 2.2357 | -444.1 | 15.679 | 3.5305 | 3.2306e-06 | 7.9408e-08 | 2.458 | 0.6393 | 0.0026508 | 0.41464 | 3.9794e-12 | 7.7309e-14 | 1.9427 | 0.9055 | 0.0012859 | 0.14201 | 5015 | 16.422 | 0.32746 |  | 3.9794e-12 | 12.3342 | 1.542e-12
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=4.5)\25.07.29_Pseudo(t=4.5)_NoiseElim\25072924.TXT | 0.00018992 | 0.094581 | 5.262e-07 | 1.2611e-08 | 2.492 | -383.2867 | 15.4313 | 16.9401 | 3.1512e-06 | 7.8235e-08 | 2.4826 | 0.64248 | 0.0026757 | 0.41652 | 3.5425e-12 | 7.0187e-14 | 1.9813 | 0.91595 | 0.0013039 | 0.14252 | 4934.1667 | 16.1673 | 0.32675 | Average | 3.5425e-12 | -7.4015e-15 | 4.7901e-13
Time(hrs): | t=6.0
Model: C:\Users\ascxc\Desktop\Marcela\2021 Sept10\surface and bulk.mdl | Chi-Sqr | Sum-Sqr | L1(+) | L1(Error) | L1(Error%) | Re(±) | Re(Error) | Re(Error%) | CPE-e-T(+) | CPE-e-T(Error) | CPE-e-T(Error%) | CPE-e-P(+) | CPE-e-P(Error) | CPE-e-P(Error%) | CPE-b-T(+) | CPE-b-T(Error) | CPE-b-T(Error%) | CPE-b-P(+) | CPE-b-P(Error) | CPE-b-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=6.0)\25.07.29_Pseudo(t=6.0)_NoiseElim\25072925.TXT | 0.00020279 | 0.1016 | 3.0886e-07 | 1.1161e-08 | 3.6136 | -14.16 | 11.583 | 81.801 | 2.7358e-06 | 6.7716e-08 | 2.4752 | 0.65858 | 0.0026599 | 0.40388 | 1.3617e-12 | 2.6838e-14 | 1.9709 | 0.97038 | 0.0012439 | 0.12819 | 4553 | 12.252 | 0.2691 |  | 1.3617e-12 | -63.198 | 3.2183e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=6.0)\25.07.29_Pseudo(t=6.0)_NoiseElim\25072926.TXT | 0.00014903 | 0.074664 | 5.081e-07 | 1.103e-08 | 2.1708 | -359.5 | 13.488 | 3.7519 | 3.1103e-06 | 6.8616e-08 | 2.2061 | 0.6436 | 0.0023776 | 0.36942 | 3.6527e-12 | 6.4445e-14 | 1.7643 | 0.912 | 0.0011604 | 0.12724 | 4878 | 14.141 | 0.28989 |  | 3.6527e-12 | -1.2802 | 3.0303e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=6.0)\25.07.29_Pseudo(t=6.0)_NoiseElim\25072927.TXT | 0.00015888 | 0.079279 | 5.2758e-07 | 1.1568e-08 | 2.1927 | -398.6 | 14.318 | 3.5921 | 3.1365e-06 | 7.1941e-08 | 2.2937 | 0.6424 | 0.0024732 | 0.38499 | 4.0698e-12 | 7.4384e-14 | 1.8277 | 0.90564 | 0.0012064 | 0.13321 | 4952 | 15.01 | 0.30311 |  | 4.0698e-12 | 9.9926 | 3.4297e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=6.0)\25.07.29_Pseudo(t=6.0)_NoiseElim\25072928.TXT | 0.00015168 | 0.07599 | 5.1315e-07 | 1.1145e-08 | 2.1719 | -383.4 | 13.766 | 3.5905 | 3.1193e-06 | 7.0516e-08 | 2.2606 | 0.64321 | 0.0024376 | 0.37897 | 4.2751e-12 | 7.6285e-14 | 1.7844 | 0.90377 | 0.0011753 | 0.13004 | 4941 | 14.447 | 0.29239 |  | 4.2751e-12 | 15.5412 | 4.1602e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=6.0)\25.07.29_Pseudo(t=6.0)_NoiseElim\25072929.TXT | 0.00014765 | 0.073677 | 5.179e-07 | 1.1085e-08 | 2.1404 | -394 | 13.757 | 3.4916 | 3.1131e-06 | 6.9253e-08 | 2.2246 | 0.64358 | 0.002399 | 0.37276 | 4.414e-12 | 7.7975e-14 | 1.7665 | 0.90191 | 0.0011663 | 0.12931 | 4945 | 14.429 | 0.29179 |  | 4.414e-12 | 19.2951 | 5.1409e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=6.0)\25.07.29_Pseudo(t=6.0)_NoiseElim\25072930.TXT | 0.00014449 | 0.072099 | 5.1567e-07 | 1.098e-08 | 2.1293 | -393 | 13.639 | 3.4705 | 3.0947e-06 | 6.8104e-08 | 2.2007 | 0.64432 | 0.0023731 | 0.36831 | 4.4271e-12 | 7.7382e-14 | 1.7479 | 0.90172 | 0.0011545 | 0.12803 | 4943 | 14.303 | 0.28936 |  | 4.4271e-12 | 19.6492 | 1.5314e-12
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=6.0)\25.07.29_Pseudo(t=6.0)_NoiseElim\25072930.TXT | 0.00015909 | 0.079551 | 4.8188e-07 | 1.1161e-08 | 2.4031 | -323.7767 | 13.4252 | 16.6163 | 3.0516e-06 | 6.9358e-08 | 2.2768 | 0.64595 | 0.0024534 | 0.37972 | 3.7001e-12 | 6.6218e-14 | 1.8103 | 0.9159 | 0.0011845 | 0.12934 | 4868.6667 | 14.097 | 0.28927 | Average | 3.7001e-12 | 1.1842e-14 | 5.7156e-13
Time(hrs): | t=7.5
Model: C:\Users\ascxc\Desktop\Marcela\2021 Sept10\surface and bulk.mdl | Chi-Sqr | Sum-Sqr | L1(+) | L1(Error) | L1(Error%) | Re(±) | Re(Error) | Re(Error%) | CPE-e-T(+) | CPE-e-T(Error) | CPE-e-T(Error%) | CPE-e-P(+) | CPE-e-P(Error) | CPE-e-P(Error%) | CPE-b-T(+) | CPE-b-T(Error) | CPE-b-T(Error%) | CPE-b-P(+) | CPE-b-P(Error) | CPE-b-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=7.5)\25.07.29_Pseudo(t=7.5)_NoiseElim\25072931.TXT | 0.00019399 | 0.097189 | 3.1494e-07 | 1.0946e-08 | 3.4756 | -30.05 | 11.541 | 38.406 | 2.7169e-06 | 6.5544e-08 | 2.4125 | 0.65993 | 0.0025927 | 0.39288 | 1.5343e-12 | 2.9844e-14 | 1.9451 | 0.96442 | 0.0012326 | 0.12781 | 4501 | 12.19 | 0.27083 |  | 1.5343e-12 | -66.4198 | 2.0581e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=7.5)\25.07.29_Pseudo(t=7.5)_NoiseElim\25072932.TXT | 0.00017418 | 0.086918 | 5.6354e-07 | 1.2326e-08 | 2.1872 | -467.9 | 15.759 | 3.368 | 3.0651e-06 | 7.382e-08 | 2.4084 | 0.64564 | 0.0025974 | 0.4023 | 4.8184e-12 | 9.2474e-14 | 1.9192 | 0.89576 | 0.0012787 | 0.14275 | 4973 | 16.485 | 0.33149 |  | 4.8184e-12 | 5.457 | 3.1524e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=7.5)\25.07.29_Pseudo(t=7.5)_NoiseElim\25072933.TXT | 0.00017235 | 0.086002 | 5.6367e-07 | 1.2245e-08 | 2.1724 | -477.2 | 15.701 | 3.2902 | 3.0374e-06 | 7.3454e-08 | 2.4183 | 0.64654 | 0.0026085 | 0.40346 | 5.2074e-12 | 9.9423e-14 | 1.9093 | 0.89177 | 0.001272 | 0.14264 | 5014 | 16.435 | 0.32778 |  | 5.2074e-12 | 13.9708 | 3.602e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=7.5)\25.07.29_Pseudo(t=7.5)_NoiseElim\25072934.TXT | 0.00015678 | 0.078233 | 5.4882e-07 | 1.1583e-08 | 2.1105 | -458 | 14.787 | 3.2286 | 3.0173e-06 | 6.9735e-08 | 2.3112 | 0.64736 | 0.002493 | 0.3851 | 5.3259e-12 | 9.7145e-14 | 1.824 | 0.89122 | 0.0012133 | 0.13614 | 4995 | 15.488 | 0.31007 |  | 5.3259e-12 | 16.5643 | 4.0291e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=7.5)\25.07.29_Pseudo(t=7.5)_NoiseElim\25072935.TXT | 0.00015887 | 0.079276 | 5.5519e-07 | 1.1691e-08 | 2.1058 | -464.4 | 14.922 | 3.2132 | 3.0274e-06 | 7.0401e-08 | 2.3255 | 0.64681 | 0.0025083 | 0.3878 | 5.2286e-12 | 9.5885e-14 | 1.8339 | 0.89193 | 0.0012198 | 0.13676 | 5010 | 15.629 | 0.31196 |  | 5.2286e-12 | 14.4347 | 5.1671e-13
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=7.5)\25.07.29_Pseudo(t=7.5)_NoiseElim\25072936.TXT | 0.00015721 | 0.078448 | 5.5386e-07 | 1.1634e-08 | 2.1005 | -465.2 | 14.882 | 3.1991 | 3.0139e-06 | 6.9733e-08 | 2.3137 | 0.64754 | 0.0024957 | 0.38541 | 5.2998e-12 | 9.6734e-14 | 1.8252 | 0.89124 | 0.001215 | 0.13633 | 5002 | 15.583 | 0.31154 |  | 5.2998e-12 | 15.9931 | 3.2308e-12
C:\Users\ascxc\Desktop\Allison Faerber\25.07.29_PseudoGrowthExp(LB)\25.07.29_Pseudo(t=7.5)\25.07.29_Pseudo(t=7.5)_NoiseElim\25072936.TXT | 0.0001689 | 0.084344 | 5.1667e-07 | 1.1738e-08 | 2.3587 | -393.7917 | 14.5987 | 9.1175 | 2.9797e-06 | 7.0448e-08 | 2.3649 | 0.64897 | 0.0025493 | 0.39282 | 4.5691e-12 | 8.5251e-14 | 1.8761 | 0.90439 | 0.0012386 | 0.13707 | 4915.8333 | 15.3017 | 0.31061 | Average | 4.5691e-12 | -4.4409e-15 | 8.3861e-13
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0

## Sample 2
Data analysis
Frequency range:
Low Frequency range used
High frequency range used (Semi circle range)
Circuit parameters
Samples:
Measurement times(hrs):
Fill here details of the sample
Comments before data analysis: | Type here any deviation from the original protocol of data analysis, such as using different freq ranges, changing the circuit model etc.
Voltage: | 500mV
Data points or range deleted (if any):
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
Averages of all parameters | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0

## Sample 3
Data analysis
Frequency range:
Low Frequency range used
High frequency range used (Semi circle range)
Circuit parameters
Samples:
Measurement times(hrs):
Fill here details of the sample
Comments before data analysis: | Type here any deviation from the original protocol of data analysis, such as using different freq ranges, changing the circuit model etc.
Voltage: | 500mV
Data points or range deleted (if any):
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
Averages of all parameters | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0
Time(hrs):
Model: C:\Users\sachidevi\Desktop\Imp model.mdl | Chi-Sqr | Sum-Sqr | Le(+) | Le(Error) | Le(Error%) | Re(±) | Re(Error) | Re(Error%) | CPEe-T(+) | CPEe-T(Error) | CPEe-T(Error%) | CPEe-P(+) | CPEe-P(Error) | CPEe-P(Error%) | Rb(+) | Rb(Error) | Rb(Error%) | CPEb-T(+) | CPEb-T(Error) | CPEb-T(Error%) | CPEb-P(+) | CPEb-P(Error) | CPEb-P(Error%) | Concentration (CFU/ml) | Bulk Capacitance (CPEb-T) | % Change | Std dev
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
[25 empty] | 0 | #DIV/0! | 0
0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Average | 0

## 5 point, avg graphs
25.07.29_PseudoGrowthExp | [11 empty] | Sample 2 | [10 empty] | Sample 3 | [10 empty] | Sample 4 | [10 empty] | Sample 5 | [10 empty] | Sample 6 | [10 empty] | Sample 7 | [10 empty] | Sample 8
Time (hrs) | Cb_1 | Cb_2 | Cb_3 | Cb_4 | Cb_5 | Cb_6 | Average Cb | Std dev | Concentration of microogranism (CFU/ml) | Normalized Cb | % change | Time (hrs) | Cb_1 | Cb_2 | Cb_3 | Cb_4 | Cb_5 | Average Cb | Std dev | Concentration of microogranism (CFU/ml) | Normalized Cb | % change | Time (hrs) | Cb_1 | Cb_2 | Cb_3 | Cb_4 | Cb_5 | Average Cb | Std dev | Concentration of microogranism (CFU/ml) | Normalized Cb | % change | Time (hrs) | Cb_1 | Cb_2 | Cb_3 | Cb_4 | Cb_5 | Average Cb | Std dev | Concentration of microogranism (CFU/ml) | Normalized Cb | % change | Time (hrs) | Cb_1 | Cb_2 | Cb_3 | Cb_4 | Cb_5 | Average Cb | Std dev | Concentration of microogranism (CFU/ml) | Normalized Cb | % change | Time (hrs) | Cb_1 | Cb_2 | Cb_3 | Cb_4 | Cb_5 | Average Cb | Std dev | Concentration of microogranism (CFU/ml) | Normalized Cb | % change | Time (hrs) | Cb_1 | Cb_2 | Cb_3 | Cb_4 | Cb_5 | Average Cb | Std dev | Concentration of microogranism (CFU/ml) | Normalized Cb | % change | Time (hrs) | Cb_1 | Cb_2 | Cb_3 | Cb_4 | Cb_5 | Average Cb | Std dev | Concentration of microogranism (CFU/ml) | Normalized Cb | % change
0 | 2.3705e-12 | 2.6511e-12 | 2.6474e-12 | 2.7876e-12 | 2.8044e-12 | 2.9446e-12 | 2.7009e-12 | 1.7384e-13 | 740 | 1 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
90 | 2.5793e-12 | 2.8287e-12 | 3.4502e-12 | 3.5398e-12 | 3.6378e-12 | 3.6982e-12 | 3.289e-12 | 4.7239e-13 | 2000 | 1.2177 | 21.7727 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
180 | 1.9641e-12 | 3.5646e-12 | 3.7803e-12 | 3.9864e-12 | 1.9871e-12 | 2.1393e-12 | 2.9036e-12 | 9.9796e-13 | 19000 | 1.075 | 7.5048 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
270 | 1.3869e-12 | 3.9239e-12 | 3.8009e-12 | 4.3103e-12 | 3.8534e-12 | 3.9794e-12 | 3.5425e-12 | 1.1733e-12 | 40000 | 1.3116 | 31.1571 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
360 | 1.3617e-12 | 3.6527e-12 | 4.0698e-12 | 4.2751e-12 | 4.414e-12 | 4.4271e-12 | 3.7001e-12 | 1.2591e-12 | 100000 | 1.3699 | 36.9922 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
450 | 1.5343e-12 | 4.8184e-12 | 5.2074e-12 | 5.3259e-12 | 5.2286e-12 | 5.2998e-12 | 4.5691e-12 | 1.6264e-12 | 3000000 | 1.6917 | 69.1662 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
[13 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
| Cb_4: *Data highlighted in orange are tests done by Olivia Heyne | [6 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
25.07.29_PseudoGrowthExp(Adjusted) | [12 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | bar: Cb_1 to Cb_2
Time (min) |  | Cb_2 | Cb_3 | Cb_4 | Cb_5 | Cb_6 | Average Cb | Std dev | Concentration of microogranism (CFU/ml) | Normalized Cb | % change |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
0 |  | 2.6511e-12 | 2.6474e-12 | 2.7876e-12 | 2.8044e-12 | 2.9446e-12 | 2.767e-12 | 8.5017e-14 | 740 | 1.0245 | 2.4468 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
90 |  | 2.8287e-12 | 3.4502e-12 | 3.5398e-12 | 3.6378e-12 | 3.6982e-12 | 3.4309e-12 | 3.6508e-13 | 2000 | 1.2703 | 27.0279 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
180 | Cb_2: 3.5646e-12; Cb_3: 3.7803e-12; Cb_4: 3.9864e-12 | 3.7771e-12 | 2.1092e-13 | 19000 | 1.3984 | 39.8443 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
270 |  | 3.9239e-12 | 3.8009e-12 | 4.3103e-12 | 3.8534e-12 | 3.9794e-12 | 3.9736e-12 | 2.3101e-13 | 40000 | 1.4712 | 47.1188 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
360 |  | 3.6527e-12 | 4.0698e-12 | 4.2751e-12 | 4.414e-12 | 4.4271e-12 | 4.1677e-12 | 3.3177e-13 | 100000 | 1.5431 | 54.3074 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
450 |  | 4.8184e-12 | 5.2074e-12 | 5.3259e-12 | 5.2286e-12 | 5.2998e-12 | 5.176e-12 | 2.2381e-13 | 3000000 | 1.9164 | 91.6382
Time (Hrs)
Growth Rate(k) = 0.017
= 40.77 min
𝑡_𝑑= (ln⁡(2))/0.017 = 40.77 min